## Sheet1
| Totals (£) | £/m² | %
Demolition / site preparation
Site clearance including demolition of existing | Excluded
Substructure | 511000 | 443.58 | 9.45
Excavation including disposal (802m³ @ £50/m³)
Piling mat including disposal (802m² @ £45/m²)
450mm diam reinforced concrete piling including rig establishment, disposal of pile arising’s off site, trimming tops of piles, pile integrity testing (92nr @ £2,000)
Pile caps (264m² @ £250/m²)
Concrete ground slab 200mm including ground beams, hardcore, mesh reinforcement, insulation, dpm, insulation (802m² @ £180/m²)
Allowance for drainage below slab (802m² @ £50/m²)
Frame and upper floors | 174000 | 151.04 | 3.22
Reinforced concrete frame 9 x 9m grid, concrete beams and columns (1,152m² @ £115/m²).
200mm in situ reinforced concrete upper floors (Plant space) (350m² @ £120/m²)
Roof | 236000 | 204.86 | 4.36
Mansard roof comprising roof trusses, 70 degree pitch, rainwater gutters and downpipes (802m² @ £260/m²)
Louvres to plant space (item @ £20,000)
Fire barriers (item @ £7,500)
External walls, windows and doors | 169000 | 146.7 | 3.12
Cavity wall; facing brick outer skin; 50mm thick insulation; plasterboard on stud inner skin (485m² @ £250/m²)
External doors, powder coated aluminium, double glazed units including ironmongery (item @ £12,500)
Windows, powder coated aluminium, double glazed units (item @ £30,000)
Film on windows (item @ £5,000)
Internal walls, partitions and doors | 262000 | 227.43 | 4.84
Internal walls; 2 layers of 12.5 thick gyproc wall board; 70 mm wide metal stud; acoustic isolator (1,363m² @ £85/m²)
Allowance for glazed screens; metal frame; integral blinds (item @ £12,000)
Allowance for pattressing; plywood; 25 thick (item @ £7,500)
Allowance for lead lining one theatre; code 3 (item @ £25,000)
Allowance for wc cubicle partitions (item @ £5,000)
PVC clad fully encapsulated system - single leaf door and frame (29nr @ £1,200 each)
PVC clad fully encapsulated system - leaf and a half door and frame (3nr @ £1,600 each)
PVC clad fully encapsulated system - Double leaf door and frame (19nr @ £1,800 each)
Extra over for lead lined doors (for one theatre) (item @ £7,500)
Extra for automatic door controls (6nr @ £2,500 each)
Internal finishes - walls | 203000 | 176.22 | 3.75
Plaster; skim coat; 5mm thick; one coat (4,100m² @ £15/m²)
Johnstones Acrylic Eggshell to wall (4,100m² @ £10/m²)
Extra over white rock theatres (3nr @ £25,000 each)
White rock to other areas (item @ £15,000)
Mastic; anti bacterial (item @ £10,000)
Internal finishes - floors | 85000 | 73.78 | 1.57
Screeding & DPM (802m² @ £40/m²)
Vinyl & latex (802m² @ £35/m²)
Coved skirtings (926m @ £15/m)
Paint to plant room flr (350m² @ £15/m²)
Barrier matting (item @ £500)
Mastic; anti bacterial (item @ £5,000)
Internal finishes - ceiling | 54000 | 46.88 | 1
Metal pan ceiling to theatre / scrub / anaesthetic / prep (330m² @ £60/m²)
Washable ceiling throughout; plasterboard MF system (472m² @ £45/m²)
Plasterboard bulkheads (item @ £7,500)
Mastic; anti bacterial (item @ £5,000)
Fittings | 77000 | 66.84 | 1.42
Theatre reception desk, directional signage, fittings for Theatre and Scrub, Theatre Change Male & Female, Recovery, Anaesthetic, Clean and Dirty utility, Theatre managers office, sundry items (item @ £77,000)
Sanitary installations | 45000 | 39.06 | 0.83
Clinical WHB; including tap, WC, Sluice unit; including tap, Scrub sink, Showers in theatre change, Whb in theatre change (item @ £45,000)
Surveys and validations | 20000 | 17.36 | 0.37
Disposal installations | 23000 | 19.97 | 0.43
Water installations | 40000 | 34.72 | 0.74
Heat source | 36000 | 31.25 | 0.67
Dedicated boiler incl all primary pumps & distribution, located adjacent to new theatres
Space heating and air conditioning | 131000 | 113.72 | 2.42
Ductwork heater batteries, additional chiller plant to supplement existing and cooling to UPS rooms
Ventilation | 471000 | 408.85 | 8.71
Dedicated AHU’s for each Theatre with UCV hoods and extract fans plus AHU and distribution for ancillary areas
Electrical installations - LV switchboards, UPS and IPS | 469000 | 407.12 | 8.67
New main panel backed up with new generator, feeding dual sub panels, isolated power supplies and UPS arrangement
Electrical installations - LV distribution & small power | 306000 | 265.63 | 5.66
General LV distribution and small power, plus bedhead trunking, surgeons panel and theatre pendants.
Electrical installations - lighting | 213000 | 184.9 | 3.94
General & emergency lighting including operating lights
Medical gases | 121000 | 105.03 | 2.24
Oxygen, Nitrous Oxide, Surgical Air, Co2 and Medical Vacuum
Protective installations | 55000 | 47.74 | 1.02
Fire and Voice alarms incl new repeater panel
Communication and control installations | 286000 | 248.26 | 5.29
Incl data, BMS, nurse call and theatre intercom systems
Testing and commissioning (@ 2% of £2,171,000) | 43000 | 37.33 | 0.79
Sub contractor preliminaries (@ 12% of £2,171,000) | 261000 | 226.56 | 4.83
Builders work | 70000 | 60.76 | 1.29
Fire stopping (item @ £40,000)
Access hatches (50nr @ £200 each)
Supports for services (item @ £20,000)
SUB TOTAL SHELL & CORE & FIT OUT | 4361000 | 3785.59 | 80.62
Preliminaries and contingencies
Main Contractor Preliminaries and General @ 13% | 545000 | 473.09 | 10.08
Main Contractor Overhead and Profit @ 5% | 245000 | 212.67 | 4.53
Design & Construction Contingency @ 5% | 258000 | 223.96 | 4.77
TOTAL SHELL & CORE & FIT OUT | 5409000 | 4695.31 | 100
Cost per theatre (1nr @ £1,803,000 each) | 1803000
Extra over for digital theatre | 320000